Date:	Click or tap to enter a date.

Coil support ABC // Name of component 
DuPont // Manufacturer 			PEEK // Main material

Outgassing – Optical  contamination test report

| Test done at : | EGO – Cascina, Italy 1500N Vacuum Laboratory // Name of the Lab - facility |  |
| --- | --- | --- |

# Summary

| - Test of component | Click or tap here to enter text. |
| --- | --- |
| - Materials, Manufacturing processes | Click or tap here to enter text. |
| - Exposed surface | Click or tap here to enter text. |
| - Description, documentation | Click or tap here to enter text. |

| Figure 1: Component XXX | Figure 2: Component XXX -2 |
| --- | --- |

# Aim and procedure

The test aim is to (check the appropriate position)

☐	Evaluate the composition of residual gases or the presence of a specific compound

☐	Evaluate the outgassing rate (total gas load and/or outgassing of specific species)

☐	Contamination test of optical sample (by //Name of lab.). 
Please add in “details” synthetic information about the testing method.

| Details: |  |
| --- | --- |

# Test conditions

| Sample Received as: |  |
| --- | --- |
| Sample Cleaning method: |  |

Method of measuring outgassing:

| ☐ Throughput’ method: C [l/s] (N2 eq.) |  | Click or tap here to enter text. |  |
| --- | --- | --- | --- |
| ☐ Modified Throughput method |  | Click or tap here to enter text. |  |
| ☐ Rate of Rise method | Click or tap here to enter text. |  |  |
| ☐ Rate of Rise method and Throughput method |  |  | Click or tap here to enter text. |

| Figure 3: Outgassing bench | Figure 4:Outgassing bench - 2 |
| --- | --- |

| Test chamber description: |  |  |
| --- | --- | --- |
| Internal surface of the chamber: |  |  |
| ☐ Is the chamber the sample to be tested? |  |  |
|  |  | Figure 5:Component in the chamber |

| - Procedure: Evacuation for | ……… Days. |
| --- | --- |
| - Temperature cycle: |  |
| - Employed pumps: | Click or tap here to enter text. |
| - Particular test conditions: | Click or tap here to enter text. |

Optical sample tested before insertion in the vacuum chamber:

| Test mirror ID: | …………. | ppm | …………. | Date | ….…………. | Surface absorption at 1064 nm |
| --- | --- | --- | --- | --- | --- | --- |

# Background

| Figure 6: Empty chamber pump down curve | Figure 7: RGA of Empty chamber |
| --- | --- |

| - Date | Click or tap here to enter text. |
| --- | --- |
| - Baking temperature: | Click or tap here to enter text. |
| - Baked chamber pressure: | Click or tap here to enter text. |

Comments: Click or tap here to enter text.

| - RGA in-situ “calibration” done for: | // Choice of injected gases RGA VS Extractor gauge | Date | Click or tap to enter a date. |
| --- | --- | --- | --- |
| - Pressure gauge in-situ “calibration”: |  | Date | Click or tap to enter a date. |

# Results

Total pressure trend, RGA spectra and temperature cycle are shown in the following figures:

| Figure 8: Temperature Cycle: | Figure 9: Pressure trend over XX days |
| --- | --- |
| Figure 10: RGA spectrum after xxxx days | Figure 11: RGA spectrum after YYY days |

Note: For practical reasons, we are interested in three values of outgassing over time. Indeed, the pump-down curve will give us an indication on the required waiting time before the experiment can be relaunched. The outgassing shall then be already relatively low at 200h, or about one week. 200 hours is an arbitrary value; it depends on the characteristics of the experiment and the volume of the tower.

Calculation of outgassing flow Q, in mbar.l/s, for different species.

- H2, H2O, N2 and Large Organics (HC) pressures in mbar are respectively indicated with “a.m.u 2”, “a.m.u 18”, “a.m.u 28 & 14” and “a.m.u > 44”.

- We consider here that all relative sensitivities are equal to 1 (Nitrogen equivalent). The error given by this approximation will be included in the total uncertainty.

- The pressure calculated via the relative sensitivities is shown as P2.

- BG is the abbreviation for Background.

- Estimate for sticky gases (water, volatile organics, …) is done either conventionally (neglecting wall effects) or with dedicated procedure (to be synthetically specified).

|  |  | @ 24h | @ 200h | @ 800h | BG |
| --- | --- | --- | --- | --- | --- |
| P tot | mbar | … | … | … | … |
| Σ I | A | … | … | … | … |
| (P tot / Σ I)-1 | A/mbar | … | … | … | … |
| P2 | mbar | … | … | … | … |
| a.m.u. 2 | mbar |  | … |  | … |
| a.m.u. 18 | mbar | … | … | … | … |
| a.m.u. 28 & 14 | mbar |  | … |  | … |
| a.m.u. > 44 | mbar |  | … |  | … |

| Comments: | // Here are indicated the basic formulas to have an estimation of the flow. If available, consider advanced methods for gas species identification and for calculation of outgassing flow. |
| --- | --- |

| Outgassing Flow rate (mbar.l/s) | Q @ 24h | Q @ 200h | Q @ 800h |
| --- | --- | --- | --- |
| H2: a.m.u. 2 |  | … |  |
| H2O: a.m.u. 18 | … | … | … |
| N2: a.m.u. 28 & 14 |  | … |  |
| HC: a.m.u. > 44 |  | … |  |

| Uncertainties: |  |
| --- | --- |

# Surface Quality and Optical contamination tests

| Test sample: | …………. | Method: | …………. | Date | ….…………. | Notes: |
| --- | --- | --- | --- | --- | --- | --- |

# Remarks/Comments:

| Vacuum measurements | Click or tap here to enter text. Click or tap here to enter text. Click or tap here to enter text. Click or tap here to enter text. | Expected Not expected Total outgassing Gas composition |
| --- | --- | --- |

Click or tap here to enter text.

| Optical contamination | Click or tap here to enter text. |
| --- | --- |